## Slide 1
ENERGY TRANSITION
Civilization and Generational Shift
Massive Transition
PRODUCTION
Traditional
Conventional
Oil Sands
Renewable
Wind and Solar
Geothermal
MRDA
Battery Storage
vs
PROPERTY RIGHTS
Unregulated leases
No OWA
MGA exposure
No LPRT
Public Interest
CONSUMPTION
Replace Fossil Fuels
Electric Vehicles
Grid Modernization
Grid Defection
REGULATORY
AUC- Rule 007
Municipal authority
Public Interest
INVESTMENT
Subsidize transmission
8% Return
Property Taxes
Who gets Carbon Credits
Small or big projects
ESG’s
Climate Change
High Efficiencies
Smart Grid

## Slide 2: Connection to the Grid
Transmission connected
  Larger projects in the hundreds of MW
  Require their own substation and connecting transmission line
  May require new major transmission lines
Distribution connected
  Smaller projects possibly up to 60 MW
AESO involvement
  Tries to forecast power needs and transmission line requirements and promotes geographical stability of the grid

## Slide 3: GENERAL ISSUES WITH SOLAR PROJECTS
Noise Levels
  Nighttime 40 dBa, daytime 50 dBa, slightly higher in more populated areas
  From inverters and substation
Glare and Glint
Nuisance, safety, distraction
Viewscape
  Solar panels are raised and project is fenced and can be fairly close to residences
Property Devaluation
  Generally recognised to occur but no one knows how much
Fire Safety
  Can’t put fires out, usually set a permitter and let it burn out
Wildlife
  “Lake effect” which can affect water birds that run before flight, gophers become a problem

## Slide 4: AUC Hearing Process
Applicant plans project, notifies and consults with stakeholders
Wind/Solar Operator applies to AUC submits application evidence
Notice of Hearing
Interveners file Statements of Intent to Participate
Ruling on Standing
Interveners file Information Requests to Applicant, Applicant responds
Interveners file Evidence
Applicant files Information Requests to Interveners, Interveners respond
Applicant files Reply Evidence
Hearing is held

## Slide 5: MITIGATION
The AUC does not compensate stakeholders for adverse effects
Interveners can request that the Operator commit to mitigate or request the AUC to condition the license
Public Interest
The Commission weighs the pros and cons of the project and approves it, if the benefits outweigh the disadvantages.
The Operator may:
Construct screening to reduce visual impact
Test water wells
Set up Community based funding projects
County Setbacks

## Slide 6: CURRENT RATES FOR SOLAR
$600/acre on grass
$700-1700/acre on cultivated lands, generally $700-800/acre
Some royalty sharing possible
Option payments $10 - $30/acre per year

## Slide 7: Renewable Projects have 3 major liabilities to hosting landowners.
1) There isn’t any Orphan Well Association to take care of reclamation and many contracts are worded to allow the company to walk away just like many Oil/Gas companies have done in Alberta. I request a Reclamation Bond or Letter of Credit to be put in place but it has to be “ring-fenced” so a lender doesn’t seize it during bankruptcy.
2) Renewable Energy projects are not exempt (like oil/gas wells) in the Municipal Government Act and landowners can be held liable for unpaid property taxes if the Renewable Energy Operator doesn’t pay the property taxes. These property taxes are generally much higher than the annual compensation paid to landowners. I request that the county waive this right due to the high taxes that will be generated by the projects.
3) Renewable Energy projects are outside the jurisdiction of the Surface Rights Board (now LPRT) and you can’t apply to them to recover unpaid annual compensation or recovery of damages.

## Slide 8
Renewable Energy leases also don’t come under the purview of the Land Agents Act and it’s the wild west out there when it comes to contracts. Often, the proponent’s agents don’t even know the regulations and they just want a signature. Even if the proponent uses a land agent, these companies’ often prey on the gullible and just want a signature. If the landowner has questions, they just move onto the next landowner. I’ve mentioned this to senior levels in the Alberta government and they just state that it’s a free market and they’re not going to intervene in regulating renewable contracts even though they know landowners are being taken advantage of.

## Slide 9: ISSUES WITH WIND AND SOLAR LEASES
1) We’ve seen some banks refuse to mortgage lands if they have a renewable energy project. Part of this is because the wind/solar lease subordinates the bank to the renewable energy operator and its lender.
2) The Default clause is very poor and often the landowner simply doesn’t have the right to enforce an Operator default.
3) Option periods are often long and have low compensation and this ties up the land for a long period of time when another Operator might come along and offer more. Generally, contracts don’t allow the landowner to terminate. I have a Colony that can’t get out of a contract that they signed more than 10 years ago. You want at least $15/acre during the option period and even that is quite low.
4) Lease terms are often very long and some have an “everlasting clause” and never expire unless the Operator cancels the lease.
5) Many contracts only offer a 2% inflation clause. I insist upon a CPI inflator in case we see inflation rates higher than 2%.

## Slide 10: ISSUES WITH WIND AND SOLAR LEASES (continued)
6) Many contracts put an onus on the landowner to notify the Operator about changes in County tax assessment rate changes, insurance level changes, intent to sell the land, intent to build on the land, etc. and have significant penalties if the landowner does not comply. It is highly unlikely that most landowners would be familiar enough with their contracts to follow up on commitments and much less likely that heirs would be aware of the issue.
7) Many contracts require Operator consent for you to sell or mortgage your land.
8) Many contracts require the landowner to indemnify the Operator against existing Environmental contamination without measuring what contamination exists. This might allow the Operator to offload future contamination onto the landowner.
9) Some contracts allow the Operator to reduce the acreage in the Extension period if they want or Surrender land and Reduce Payments.

## Slide 11: ISSUES WITH WIND AND SOLAR LEASES (continued)
10) Most contracts allow the Operator to exercise the Option on a portion of the land but keep the rest under Option.
11) All contracts require the landowner to join in proceedings to help the Operator get licenses.
12) Many solar contracts allow the Operator to subdivide the leased area if necessary for their operations.
13) Many contracts allow the Operator to access the rest of the lands, possibly without compensation.
14) Many contracts allow the Operator to sublet the lands or grant easements for roads and powerlines (at minimal compensation) to other Operators for other uses.
15) Some contracts allow the Operator to use the aggregates (gravel) found on land without payment to the landowner.

## Slide 12: SUGGESTIONS:
1) You need to insist that all construction equipment is cleaned so they don’t introduce weeds or crop disease into the area.
2) The Operator should pay for baseline soil and weed studies which would be used during Reclamation.
3) For solar projects, you want the Operator to take, and pay, based upon at least 40 acre LSD parcels. The landowner doesn’t want to be left with small, oddly shaped, parcels to farm. On the other hand, the landowner needs to make sure that access to water sources and critical infrastructure is not impeded. The Operator should pay based upon the entire 40 acres whether they use it or not.
4) The annual compensation should state payable in advance at the beginning of each year.

## Slide 13: SUGGESTIONS: (continued)
5) The Crop Loss provision should have a set amount which escalates at 2 % or the CPI, you don’t want to have to justify the amount every time.
6) Its critical that the lease’s lender clause is not unfavorable to the landowner and most are extremely unfavorable and need to be changed.
7) You want to make sure that all compensation escalators begin with the effective date and not a later construction or operational date.
8) The Reclamation Term payment needs to be sufficient to pay for land still out of production as reclamation may take some time and the Operator won’t be generating offsetting revenue. Many contracts state $5/acre which is ridiculous.

## Slide 14: SUGGESTIONS: (continued)
9) Many windmill contracts pay a $450/acre rate during reclamation but wind turbine footprints are only about 1/10th of an acre and could be left into eternity for $45/year instead of paying hundreds of thousands of dollars to remove.
10) Stripping of top soils should be restricted and top soil should be stored on the lands and not removed. It needs to be taken care of so it doesn’t become a weed problem.
11) The assignment clause has to be restricted so that the Operator cannot offload the project onto a deadbeat company just before reclamation.
12) The contract should require both parties to have Insurance and to subrogate and list the other party as an additional insured. I would not allow the Operator to self-insure.

## Slide 15: CONCLUSION
Basically, all of the contracts offload liability onto the landowner and are written to protect the Operator. Many put the landowner at risk of losing their land (or control of it) in the future. Compensation needs to be high enough to compensate for the risks taken. The contracts also need to be changed to reduce landowner risk. I would not recommend landowners to just sign the contracts that are being presented to them. Most Operators know that they are taking advantage of the landowner, but that’s just good business.